## Slide 1
Inside the Black Box: Phage Genome Sequencing, Assembly, and Finishing
Dan Russell
AKA: What did my phage do over winter break?

## Slide 2
So I don’t forget…
“This will not be on the test”
These slides will be posted, please steal them
Feel free to post questions in the chat

## Slide 3
(Relevant) Trivia
How many base pairs (bp) are there in a human genome?
How much did it cost to sequence the first human genome?
How long did it take to sequence the first human genome?
When was the first human genome sequence complete?

## Slide 4
How many base pairs (bp) are there in a human genome?
How much did it cost to sequence the first human genome?
How long did it take to sequence the first human genome?
When was the first human genome sequence complete?
~3 billion (haploid)
~$2.7 billion
~13 years
2000-2003
(Relevant) Trivia

## Slide 5
Overview
  The Winter Break Black Box
  Sequencing
  Assembly
  Finishing
  What’s new?

## Slide 6
Overview
  The Winter Break Black Box
  Sequencing
  Assembly
  Finishing
  What’s new?

## Slide 7
Madiba DNA
Madiba.fasta
Fall semester lab work
Spring semester annotation

## Slide 8
Madiba DNA
Fall semester lab work
Spring semester annotation
What happens in here?
Madiba.fasta

## Slide 9
Overview
  The Winter Break Black Box
  Sequencing*
  Assembly
  Finishing
  What’s new?

## Slide 10
SEQUINS

## Slide 11
Overview
  The Winter Break Black Box
  Sequencing*
  Assembly
  Finishing
  What’s new?
* Determining the number, order, and arrangement of As, Cs, Gs, and Ts that comprise a piece of DNA

## Slide 12: Shotgun Genome Sequencing
Complete genome copies
Fragmented genome chunks

## Slide 13: Shotgun Genome Sequencing
Fragmented genome chunks
NOT REALLY DONE BY DUCK HUNTERS
Hydroshearing, sonication, enzymatic shearing
Notes: Fragment sizes differ for different seq platforms.

## Slide 14
Fragments were cloned:

## Slide 15
Notes: One tube per 2 sequences with Sanger and cloning. Not so bad if you only want 100 sequences. What if you want 1 million?

## Slide 16
x millions
Notes: One tube per 2 sequences with Sanger and cloning. Not so bad if you only want 100 sequences. What if you want 1 million?

## Slide 17
x millions
Notes: One tube per 2 sequences with Sanger and cloning. Not so bad if you only want 100 sequences. What if you want 1 million?

## Slide 18: Sanger Sequencing Reactions
A
A
A
A
A
A
A
G
A
T
C
C
C
C
C
C
C
T
T
T
T
T
G
G
G
G
G
G
Regular Nucleotides
Dideoxy Nucleotides
A
A
A
A
A
T
C
C
C
T
T
T
T
G
G
G
G
G
Labeled
Terminators
Template DNA
Known Primer (~20bp)
DNA Polymerase

## Slide 19: Sanger Sequencing
5’
T G C G C G G C C C A
Primer
A C G C G C C G G G T ? ? ? ? ? ? ? ? ? ? ? ? ? ? ?
5’
3’

## Slide 20: Sanger Sequencing
A C G C G C C G G G T C A G A A C C C G A T C G C G
5’
3’
5’
T G C G C G G C C C A
Primer
G T C T T G G G C T

## Slide 21: Sanger Sequencing
G T C T T G G G C T A G C G C
A C G C G C C G G G T C A G A A C C C G A T C G C G
5’
3’
5’
T G C G C G G C C C A
Primer
G T C T T G G G C T
5’
T G C G C G G C C C A
21 bp

## Slide 22: Sanger Sequencing
A C G C G C C G G G T C A G A A C C C G A T C G C G
5’
3’
G T C T T G G G C T A G C G C
5’
T G C G C G G C C C A
G T C T T G G G C T
5’
T G C G C G G C C C A
21 bp
26 bp
5’
T G C G C G G C C C A
Primer
G T C T T G G G C T A

## Slide 23: Sanger Sequencing
A C G C G C C G G G T C A G A A C C C G A T C G C G
5’
3’
G T C T T G G G C T A G C G C
5’
T G C G C G G C C C A
G T C T T G G G C T
5’
T G C G C G G C C C A
21 bp
26 bp
5’
T G C G C G G C C C A
G T C T T G G G C T A
22 bp
5’
T G C G C G G C C C A
Primer
G

## Slide 24: Sanger Sequencing
A C G C G C C G G G T C A G A A C C C G A T C G C G
5’
3’
G T C T T G G G C T A G C G C
5’
T G C G C G G C C C A
G T C T T G G G C T
5’
T G C G C G G C C C A
21 bp
26 bp
5’
T G C G C G G C C C A
G T C T T G G G C T A
22 bp
5’
T G C G C G G C C C A
G
12 bp
5’
T G C G C G G C C C A
Primer
G T C T T G G G C

## Slide 25: Sanger Sequencing
A C G C G C C G G G T C A G A A C C C G A T C G C G
5’
3’
G T C T T G G G C T A G C G C
5’
T G C G C G G C C C A
G T C T T G G G C T
5’
T G C G C G G C C C A
21 bp
26 bp
5’
T G C G C G G C C C A
G T C T T G G G C T A
22 bp
5’
T G C G C G G C C C A
G
12 bp
5’
T G C G C G G C C C A
G T C T T G G G C
20 bp
5’
T G C G C G G C C C A
Primer
G T C T T

## Slide 26: Sanger Sequencing
A C G C G C C G G G T C A G A A C C C G A T C G C G
5’
3’
G T C T T G G G C T A G C G C
5’
T G C G C G G C C C A
G T C T T G G G C T
5’
T G C G C G G C C C A
21 bp
26 bp
5’
T G C G C G G C C C A
G T C T T G G G C T A
22 bp
5’
T G C G C G G C C C A
G
12 bp
5’
T G C G C G G C C C A
G T C T T G G G C
20 bp
5’
T G C G C G G C C C A
G T C T T
16 bp

## Slide 27: Sanger Sequencing
A C G C G C C G G G T ? ? ? ? ? ? ? ? ? ? ? ? ? ? ?
5’
3’
? ? ? ? ? ? ? ? ? ? ? ? ? ? C
5’
T G C G C G G C C C A
? ? ? ? ? ? ? ? ? T
5’
T G C G C G G C C C A
21 bp
26 bp
5’
T G C G C G G C C C A
? ? ? ? ? ? ? ? ? ? A
22 bp
5’
T G C G C G G C C C A
G
12 bp
5’
T G C G C G G C C C A
? ? ? ? ? ? ? ? C
20 bp
5’
T G C G C G G C C C A
? ? ? ? T
16 bp
Notes: Has to be done in a single tube per rxn.

## Slide 28: Sanger Sequencing
5’
T G C G C G G C C C A
G T C T T G G G
19 bp
5’
T G C G C G G C C C A
G T C T T G G G C T A
22 bp
G T C T T G G G C T
5’
T G C G C G G C C C A
21 bp
5’
T G C G C G G C C C A
G T C T T G G G C
20 bp
5’
T G C G C G G C C C A
G
12 bp
5’
T G C G C G G C C C A
G T
13 bp
5’
T G C G C G G C C C A
G T C T T
16 bp
5’
T G C G C G G C C C A
G T C
14 bp
5’
T G C G C G G C C C A
G T C T
15 bp
5’
T G C G C G G C C C A
G T C T T G
17 bp
5’
T G C G C G G C C C A
G T C T T G G
18 bp
Laser Reader

## Slide 29: Sanger Sequencing Output
Each sequencing reaction gives us a chromatogram, usually ~600-1000 bp:

## Slide 30
Must have 1 colony picked for every 2 reactions
Must do 1 DNA prep for every 2 reactions
Must have 1 PCR tube for each reaction
Must have 1 gel lane for each reaction
Sanger Throughput Limitations
Must have undergrad/entry-level labor!

## Slide 33: Colony Picking Robot

## Slide 36: Capillary Arrays

## Slide 37: Sanger Throughput Limitations
Must have 1 colony picked for every 2 reactions
Must do 1 DNA prep for every 2 reactions
Must have 1 PCR tube for each reaction
Must have 1 gel lane for each reaction
from The Economist

## Slide 38
Problem: How can we do way more reactions at once without having more tubes, thermocyclers, etc.?

## Slide 39
Next generation sequencing
Massively parallel

## Slide 40
Next generation sequencing

## Slide 41
Genomic
Fragment
Adapters
Shotgun sequencing by PGM/454

## Slide 42
Next generation sequencing

## Slide 43
Shotgun sequencing by PGM/454
Bead/ISP
Adapter
Complement
Sequences
Each bead should be amplified
all over with a SINGLE library fragment.

## Slide 44
Problem: How do I do PCR to amplify the fragments without having to use 1 tube for each reaction?
Shotgun sequencing by PGM/454

## Slide 45
Shotgun sequencing by PGM/454

## Slide 46
Shotgun sequencing by PGM/454

## Slide 47
Shotgun sequencing by PGM/454

## Slide 48
~3.5 µm for Ion Torrent, ~30 µm for 454
Shotgun sequencing by PGM/454

## Slide 49
A C G C G C C G G G T C A G A A C C C G A T C G C G
5’
3’
5’
T G C G C G G C C C A
Primer
Only give polymerase one nucleotide at a time:
If that nucleotide is incorporated, enzymes turn by-products into light:
T C A G T C A G T C A G
1 2 3 4 5
G
T
C
T T
G
G
G
G
G
G G G
The real power of this method is that it can take place in millions of tiny wells in a single plate at once.
Raw 454 data

## Slide 50: Illumina Sequencing

## Slide 51: Illumina Sequencing

## Slide 52: Illumina Sequencing

## Slide 53: Illumina Sequencing

## Slide 56
Next-Gen Sequencing
Take home message: Massively Parallel
Millions (or billions) of concurrent reads, but without separate tubes

## Slide 57
Overview
  The Winter Break Black Box
  Sequencing
  Assembly
  Finishing
  What’s new?

## Slide 58
Method | Read Length
Sanger | 600-1000 bp
454 | 400-800 bp
Illumina | 75-300 bp
Ion Torrent | ~200 bp
PacBio/Nanopore | ~10,000 bp
But…
Phage Genome: ~5,000 to ~500,000 bp
Bacteria: Several million bp
Human: 3 billion bp

## Slide 59
ATTGTTCCCACAGACCG
CGGCGAAGCATTGTTCC
ACCGTGTTTTCCGACCG
TTTCCGACCGAAATGGC
TTGTTCCCACAGACCGTG
AGCTCGATGCCGGCGAAG
ATGCCGGCGAAGCATTGT
TAATGCGACCTCGATGCC
ACAGACCGTGTTTCCCGA
AAGCATTGTTCCCACAG
TGTTTTCCGACCGAAAT
CCGACCGAAATGGCTCC
TGCCGGCGAAGCCTTGT
Assembly
17 bp
66 bp

## Slide 60
Assembly
TAATGCGACCTCGATGCCGGCGAAGCATTGTTCCCACAGACCGTGTTTTCCGACCGAAATGGCTCC
Consensus:
ATTGTTCCCACAGACCG
CGGCGAAGCATTGTTCC
ACCGTGTTTTCCGACCG
TTTCCGACCGAAATGGC
TTGTTCCCACAGACCGTG
AGCTCGATGCCGGCGAAG
ATGCCGGCGAAGCATTGT
TAATGCGACCTCGATGCC
ACAGACCGTGTTTCCCGA
AAGCATTGTTCCCACAG
TGTTTTCCGACCGAAAT
CCGACCGAAATGGCTCC
TGCCGGCGAAGCCTTGT

## Slide 61
Assembly
TAATGCGACCTCGATGCCGGCGAAGCATTGTTCCCACAGACCGTGTTTTCCGACCGAAATGGCTCC
Consensus:
ATTGTTCCCACAGACCG
CGGCGAAGCATTGTTCC
ACCGTGTTTTCCGACCG
TTTCCGACCGAAATGGC
TTGTTCCCACAGACCGTG
AGCTCGATGCCGGCGAAG
ATGCCGGCGAAGCATTGT
TAATGCGACCTCGATGCC
ACAGACCGTGTTTCCCGA
AAGCATTGTTCCCACAG
TGTTTTCCGACCGAAAT
CCGACCGAAATGGCTCC
TGCCGGCGAAGCCTTGT
Newbler

## Slide 62
Assembly
Consed

## Slide 63
Assembly
Using programs to find overlapping alignments in sequencing reads and build contigs.
The quality of an assembly depends on:
Program used
Type, quality, and length of individual reads
Number of reads used
Complexity of the genome

## Slide 64
Overview
  The Winter Break Black Box
  Sequencing
  Assembly
  Finishing
  What’s new?

## Slide 65
Some words have special meanings in scientific context
THEORY
Special use of the word “finish”

## Slide 67
Some words have special meanings in scientific context
THEORY
FINISH
Special use of the word “finish”
Before annotation, phage genomes should be sequenced AND finished.

## Slide 68
“On June 26, 2000, the International Human Genome Sequencing Consortium announced the production of a rough draft of the human genome sequence. In April, 2003, the International Human Genome Sequencing Consortium is announcing an essentially finished version of the human genome sequence.” —genome.gov
Special use of the word “finish”
June 2000  April 2003?
Finishing.

## Slide 69
“The difference between the draft and finished versions is defined by coverage, the number of gaps and the error rate. The draft [had] an error rate of 1 in 1,000 base pairs, [and] more than 150,000 gaps and only 28 percent of the genome had reached the finished standard. In the April 2003 version, there are less than 400 gaps and 99 percent of the genome is finished with an accuracy rate of less than 1 in 10,000 base pairs.”
Special use of the word “finish”
1 in 1000 error rate times 3 billion bases equals 3 million errors!
Our goal for phages: 0 gaps, 0 errors

## Slide 70
Areas Requiring Finishing Work
Multiple contigs (could indicate missing portions of the genome)
Low consensus quality
Discrepant positions
Low coverage
Genome ends

## Slide 71
Assembly
TAATGCGACCTCGATGCCGGCGAAGCATTGTTCCCACAGACCGTGTTTTCCGACCGAAATGGCTCC
Consensus:
Coverage: # of reads underlying the consensus
ATTGTTCCCACAGACCG
CGGCGAAGCATTGTTCC
ACCGTGTTTTCCGACCG
TTTCCGACCGAAATGGC
TTGTTCCCACAGACCGTG
AGCTCGATGCCGGCGAAG
ATGCCGGCGAAGCATTGT
TAATGCGACCTCGATGCC
ACAGACCGTGTTTCCCGA
AAGCATTGTTCCCACAG
TGTTTTCCGACCGAAAT
CCGACCGAAATGGCTCC
TGCCGGCGAAGCCTTGT
Coverage: # of reads underlying the consensus
Average coverage: Total bases / consensus length
13 reads * 17 bases per read = 221 bases
221 bases / 66 base consensus = 3.35-fold coverage

## Slide 72
Assembly
TAATGCGACCTCGATGCCGGCGAAGCATTGTTCCCACAGACCGTGTTTTCCGACCGAAATGGCTCC
Consensus:
6x coverage
100% identity
Coverage: # of reads underlying the consensus
ATTGTTCCCACAGACCG
CGGCGAAGCATTGTTCC
ACCGTGTTTTCCGACCG
TTTCCGACCGAAATGGC
TTGTTCCCACAGACCGTG
AGCTCGATGCCGGCGAAG
ATGCCGGCGAAGCATTGT
TAATGCGACCTCGATGCC
ACAGACCGTGTTTCCCGA
AAGCATTGTTCCCACAG
TGTTTTCCGACCGAAAT
CCGACCGAAATGGCTCC
TGCCGGCGAAGCCTTGT

## Slide 73
Assembly
TAATGCGACCTCGATGCCGGCGAAGCATTGTTCCCACAGACCGTGTTTTCCGACCGAAATGGCTCC
Consensus:
5x coverage
80% identity
Coverage: # of reads underlying the consensus
ATTGTTCCCACAGACCG
CGGCGAAGCATTGTTCC
ACCGTGTTTTCCGACCG
TTTCCGACCGAAATGGC
TTGTTCCCACAGACCGTG
AGCTCGATGCCGGCGAAG
ATGCCGGCGAAGCATTGT
TAATGCGACCTCGATGCC
ACAGACCGTGTTTCCCGA
AAGCATTGTTCCCACAG
TGTTTTCCGACCGAAAT
CCGACCGAAATGGCTCC
TGCCGGCGAAGCCTTGT

## Slide 74
Assembly
TAATGCGACCTCGATGCCGGCGAAGCATTGTTCCCACAGACCGTGTTTTCCGACCGAAATGGCTCC
Consensus:
2x coverage
50% identity
Coverage: # of reads underlying the consensus
ATTGTTCCCACAGACCG
CGGCGAAGCATTGTTCC
ACCGTGTTTTCCGACCG
TTTCCGACCGAAATGGC
TTGTTCCCACAGACCGTG
AGCTCGATGCCGGCGAAG
ATGCCGGCGAAGCATTGT
TAATGCGACCTCGATGCC
ACAGACCGTGTTTCCCGA
AAGCATTGTTCCCACAG
TGTTTTCCGACCGAAAT
CCGACCGAAATGGCTCC
TGCCGGCGAAGCCTTGT

## Slide 75
Assembly
TAATGCGACCTCGATGCCGGCGAAGCATTGTTCCCACAGACCGTGTTTTCCGACCGAAATGGCTCC
Consensus:
1x coverage
Coverage: # of reads underlying the consensus
ATTGTTCCCACAGACCG
CGGCGAAGCATTGTTCC
ACCGTGTTTTCCGACCG
TTTCCGACCGAAATGGC
TTGTTCCCACAGACCGTG
AGCTCGATGCCGGCGAAG
ATGCCGGCGAAGCATTGT
TAATGCGACCTCGATGCC
ACAGACCGTGTTTCCCGA
AAGCATTGTTCCCACAG
TGTTTTCCGACCGAAAT
CCGACCGAAATGGCTCC
TGCCGGCGAAGCCTTGT

## Slide 76
Sanger finishing reads

## Slide 77
Finishing
Using a combination of programs and wet-bench experiments to close gaps, resolve weak areas, and ensure a high-quality extremely-low-error final genome sequence that is properly cut, oriented, and ready to annotate.

## Slide 78
Why we finish
  Confidence during annotation
  Quality sequence in GenBank
  Relatively easy

## Slide 83
Why we finish
  Confidence during annotation
  Quality sequence in GenBank
  Relatively easy (now)
How we finish:
  Consed
  Bench work
Average Number of Finishing Sanger Reactions
Technology | Sanger | 454 | Ion Torrent | Illumina
Reads | ~25-30 | 4.2 | 9.6 | 0.02

## Slide 85
Overview
  The Winter Break Black Box
  Sequencing
  Assembly
  Finishing
  What’s new?

## Slide 86
From 1998 Genome Project Report
“DNA sequencing technology has improved dramatically since the genome project began. The amount of sequence produced each year is increasing steadily; individual centers are now producing tens of millions of base pairs of sequence annually…”

## Slide 87
Becky Garlena
“Individual Beckys are now producing billions of base pairs of sequence twice a week…”

## Slide 89: Oxford Nanopore

## Slide 90
Oxford Nanopore Sequencing

## Slide 91
Oxford Nanopore Sequencing

## Slide 92
“The MinION has been used to successfully read … 100,000 base pairs during a single DNA capture, [which] has never been managed before using traditional sequencing techniques.
… but Oxford Nanopore has also introduced GridION [and] the company reckon that a 20-node GridION setup can sequence a complete human genome in just 15 minutes.”
—Wired

## Slide 93: GATTACA

## Slide 94
How many base pairs (bp) are there in a human genome?
How much did it cost to sequence the first human genome?
How long did it take to sequence the first human genome?
When was the first human genome sequence complete?
~3 billion (haploid)
~$2.7 billion
~13 years
2000-2003
(Relevant) Trivia

## Slide 95
Take home
Sequencing getting better faster than computers
Finishing is a prerequisite for annotation
Bioinformatics skills are very marketable

## Slide 96
Thanks!
Questions?